	Punjab Edusat Society (PES)
[image: image3.jpg]


Request For Proposal (RFP) for Furniture & Electrical Services for Government Schools under PES 


[image: image4.jpg]





Tender Sr. No: e-Tender/DoSE/EDUSAT/2011-12/00001 
REQUEST FOR PROPOSAL
For
Supply, Installation 
Of
Furniture, Electrical Fixture and Allied material
in the Edusat computer labs in Govt. Sr. Secondary Schools and Govt. High schools in the State of Punjab

Government of Punjab
Through
Project Director, Punjab Edusat Society
SCO.104-106, 2nd Floor, Sector-34, Chandigarh
Tender Summary
	1
	Tender No.
	e-Tender/DoSE/EDUSAT/2011-12/00001

	2
	Total pages
	29

	3
	Description
	Supply, Installation of Furniture, Electrical Fixture and Allied material in the Edusat computer labs in Govt. Sr. Secondary Schools and Govt. High schools in the State of Punjab

	4
	EMD
	Rs. 60,000,00/- (Rs. Sixty Lacs)

	5
	Last Date of Submission
	24th Aug 2011 upto 2:30PM

	6
	Date of Opening of bid
	24th Aug 2011 at 3:00PM


Section – I
1.0 Invitation for Bids: 
1.1 This invitation of bid is for Supply, Installation of Furniture, Electrical Fixture and Allied material in 3184 Edusat computer labs in Govt. Sr. Secondary Schools and Govt. High schools in the State of Punjab.
1.2 Bidders are advised to study the Tender Document carefully. Submission of Tender shall be deemed to have been done after careful study and examination of the Tender Document with full understanding of its implications. 
1.3 Sealed offers should be submitted to Project Director Punjab Edusat Society, SCO.104-106 2nd floor, Sector-34 A Chandigarh not later than the last date and time of submission. 
1.4 All bids must be accompanied by an Earnest Money of Rs. 60 lacs (Rs Sixty lac only) in the form of Bank Draft, in favor of The Project Director cum Director General School Education, Punjab Edusat Society Payable at Chandigarh. 
1.5 This Tender document is not transferable 
1.6 Schedule for Invitation to Tender 

1.6.1 Time and date for receipt of Tender: 2.30 PM on 24.08.2011 
1.6.2   Date,  Time  &  Place  of  opening  of  bids:  3.00  PM  on  24.08.2011  in the office of the Project Director Punjab Edusat Society, Chandigarh, SCO.104-106, 2nd Floor, Sector-34 Chandigarh. 
1.7
Validity of the bid: 90 days from the date of opening of tenders.

1.8
Schedule for delivery: Delivery, commissioning and integration of equipment within 120 days of signing of contract.
1.9
The number of Edusat computer labs is approximate and it can be reduced or increased. Final list of the schools will be provided along-with LOI/order.
1.10
Failure to attach any document as well as requisite EMD with the technical bid will tenta-mount to incompletion of the tender and the bid in question shall be rejected straighty without assigning any reason and no argument/ communication in this regard shall be entertained
1.11
The work can be split between more than one bidders. In such a case, (based on the lowest quoted rates) the Bid Evaluation Committee will decide a benchmark Price and the short listed bidders will have to match the so decided benchmark price. However, L1 will be given atleast 50% or more depended from his capacity to execute the order within the specified limit and the others the balance proportionately depending upon their capacity to execute the order within the specified time. 
1.12
Punjab EDUSAT Society reserves the right to reject any or all tenders without assigning any reason.

Note: The PUNJAB EDUSAT SOCIETY shall not be responsible for any postal delay about non-receipt/non delivery of the documents. 

Section – II

2.0 Scope of Work
2.1
Introduction  

2.1.1
Punjab Edusat Network is presently operational in Ku-Band channel # 4 of INSAT-4CR satellite. 
2.1.2
The Government of Punjab has embarked upon an ambitious programme for delivering quality education to the students of the educational institutions in the state of Punjab through INSAT-4CR. For delivering educational content, lectures are required to be broadcast/recorded from studios based at Mohali. The states Government through the Punjab Edusat Society (PES) intends to select reputed companies/firms, with relevant experience for Supply, Installation of Furniture, Electrical Fixture and Allied material as detailed in Annexure-I for establishment of Edusat computer labs in about 3184 Govt. Sr. Sec. Schools/ Govt. High schools.
The bidder will be provided one room where he has to undertake all necessary activities required for supply and installation of furniture, electrical fixtures and allied items including electrical wiring and provision for networking of 30 dummy computers with 03 CPUs (N-computing concept), 03 Line Interactive UPSs (3 KVA) and 03 Automatic Stabilizer (05 KVA).

For this purpose, the bidder shall have to undertake electrical wiring (ISI Marked) for all electrical equipments. The electrical wiring would also include earthing arrangements. The bidder shall provide internal electrical wiring and power point fittings required for the purpose. Wiring and all fittings should be ISI / ISO certified. Earthing should be with copper plate of 600mmX600mmX3mm thick including funnel, charcoal/ coal/ salt of 8 feet depth.
2.1.3 This contract document gives the specifications, terms and conditions and other requirements of the Furniture & Electrical fixtures to be supplied by the vendor on turnkey basis. While the detailed specifications of all individual items are given in Annexure-I. The format in which the commercial bid is to be submitted by the Bidder is given in Performa-IV. 
2.1.4 At present PES intends to establish 3184 Edusat computer labs in all the Govt. Sr. Sec Schools/ Govt. High schools in the State. However the exact quantity may be decided at the time of placing purchase order. Vendor may submit their quote as per format given in Performa-IV. 

2.2 General Instructions:- 

2.2.1 It is mandatory for Bidder to submit the compliance of each and every part of this RFP (including general instructions, terms & conditions, schedule, maintenance, specifications of each system given in Annexure-I, etc.) in his technical bid failing which the proposal will not be evaluated and will be rejected without any further notice/communication to the bidder. 
2.2.2 This is a two part bid and Bidder, therefore, shall submit separate technical and commercial bids in two different envelopes.  The quote shall be inclusive of all the costs up to FOR destination, i.e. up to respective sites/locations in State of Punjab. The compliance statement for technical specifications, however, should be submitted along with the technical bid. 
2.2.3 The goods are required to be installed & commissioned at different locations in Punjab state. The list of locations and respective custodian at the site will be provided by Punjab Edusat Society later. 
2.2.4 RFP shall be treated by the successful Bidder as a ‘rate-contract’. Bidder shall provide the quote for items as per Performa-IV, for all the items mentioned in the List. The prices quoted by the vendor shall be valid for one year during which PUNJAB EDUSAT SOCIETY may place the order multiple times for different quantities, depending on requirement. 
2.2.5 The successful bidder (vendor) should stock required spares during warranty period to meet the uptime requirement. 
2.2.6 The Rate contract will be entered into on FIRM & FIXED price only. 
2.2.7 Vendor shall work out immediately after receiving order and in consultation with PUNJAB EDUSAT SOCIETY, an implementation plan detailing various milestones to the effect that all activities falling under the scope of the contract get completed within stipulated delivery schedule. 
2.2.8 As a part of maintenance philosophy, Vendor is to clearly focus on the following;
2.2.9       Fault reporting mechanism to be followed – by way of availability of no. of   maintenance/reporting centers, help desk etc. and by way of reporting by phone, fax e-mail etc. 
2.2.10      The successful bidder shall be responsible for transportation and installation of the goods in question and other associated equipment at site. All the ordered items will be transported, installed, commissioned and maintained by the vendor. During the warranty period, vendor is fully responsible for all equipments supplied as part of this order. 
2.2.10.1 The goods in question shall be so designed that they are easily installable in the field. The actual number of site locations will be given separately. The names of contact person at each place (with alternative 2nd name, if available) will be furnished in the due course. 
2.2.10.2 The Bidder shall submit the time schedule including supply, installation, commissioning and operationalization of the complete work. However, this period shall, in any case, not be more than 120 days from the issue of order or site readiness, whichever is later. LD clause, as mentioned in the tender document will be applicable, if the time schedule promised by the bidder is not adhered to. Vendor shall work out, within 15 working days of the placement of the order and in consultation with PUNJAB EDUSAT SOCIETY, an implementation plan detailing various milestones to the effect that all activities falling under the scope of the contract get completed within stipulated time. 

Section - III

3.0 Installation of Furniture & Fixtures: 

3.1
Site Survey:
3.1.1
Vendor shall do the site survey for the sites for installation of furniture & fixtures. Any non-suitability observed at site must be informed to user agency/respective nodal agency for corrective action. 

3.2 Transportation:
(i) Vendor shall cover transit insurance for value of the materials to be transported. This insurance policy shall cease once the equipments are safely handed over to the custodians of the respective classrooms. 
(ii) All the items are to be transported safely with proper packing to each site with packing list containing all details of hardware packed with serial Nos. and quantity. 
(iii) Vendor shall prepare delivery schedule for distribution of goods in consultation with respective nodal agencies and also inform site coordinator well in advance. 
(iv) All additional taxes (Toll Tax, RTO Tax etc.) during transportation will be borne by the vendor. 

3.4 Installation  and  Deployment:
(i) The Installation and commissioning should be carried out at sites as per the list given by the respective nodal agencies/PUNJAB EDUSAT SOCIETY and signature to be obtained in the form of ‘Hand Over and Acceptance Certificate’ from the users. 
(ii) Logistic support in respect of installation & deployment will be the responsibility of the vendor. 
(iii) During installation of goods, if any of the item is found faulty, vendor shall replace/ repair and make the classroom operational. 
(iv) Channeling/dressing of electrical cable is to be done by the vendor. 
(v) Vendor shall provide detailed installation schedule and manpower deployed for the installation and commissioning and inform respective Nodal Agency. 
(vi) Vendor shall inspect the quality of workmanship and report to the concerned custodian/site in-charge and get it certified from the respective Nodal Agency. 
3.5 Acceptance Test: 

(i) Goods acceptance test will be carried out by PUNJAB EDUSAT SOCIETY at the location decided/ provided by PES. ( Approx. 2 % sites )
(ii) The goods plan for the checkout of required classrooms should be prepared by the vendor and duly approved by the respective nodal agencies/PUNJAB EDUSAT SOCIETY. 
3.6 Maintenance Service:
(i) Vendor for maintenance can be himself or vendor’s authorized Party. However, the vendor will be a single contact point, which owns the maintenance activities of complete respective network. 
(ii) All the items supplied against this order should be covered under on-site warranty for a period of one year after the installation, Commissioning and acceptance of all the goods of that supply order against   bad   workmanship,   manufacturing   defects,   etc. The warranty would not cover damage done by user.
3.7 Other Terms and Conditions: 
(i) The Supplier, once order is placed, has to complete the Supply, Installation, Commissioning and Operationalization of Edusat computer labs within delivery schedule of 120 days given above. In case the supplier fails to complete this work in specified period or any extension thereof allowed by PUNJAB EDUSAT SOCIETY HQ, the society shall have the right to recover from the Supplier as Liquidated Damages (LD) a sum at the rate of 0.5 % (1/2 %) per week not exceeding the total cost of 10% of undelivered goods.
(ii) PES shall not be responsible for any accidental injury, death or any untoward incidents caused to the workman deployed during installation, testing, commissioning and transportation or in any kind while executing the order.

Section – IV

4.0 Bidders Qualifications:
4.1 The bidder must be reputed company/firm with relevant experience to supply, installed, commission and Operationalization computer labs furniture and Electrical fixtures including earthing. Bidder must submit the details of similar project handled by them during last two years. The average annual turnover of lead bidder should be more than 10 crores in last 3 preceding years. Attach balance sheet to prove the same. Bidder must have related experience in supply and installation of furniture articles in at least 500 intuitions.
4.2 The OEM must have minimum average per year turnover of Rs. 40.00 Crores (Rupees Fourty Crores) for manufacturing/ supply of furniture for the preceding 3 financial years ended with 31st March 2011 and supply a certificate from Chartered Accountant in this regard. The bidder  also have to submit copies of balance sheets /profit & loss accounts/ annual reports of last three financial years (upto 31-Mar-2011).

4.3 The bidder must be in existence for last five years. 
4.4 The bidder must be either an OEM or an authorized distributor/dealer of the OEM whose product is being quoted. 
4.5 The tender would be evaluated as a total value and it is mandatory for the bidder to quote for all the line items.

4.6 The bidder shall deposit a sample of the goods to be supplied alongwith the tender.
Section – V

5.0 Submission of Bids
5.1
The bid should be submitted to Project Director, Punjab Edusat Society, SCO.104-106, 2nd floor, Sector-34 Chandigarh not later than the last date of submission, in a sealed cover superscribe as “Bid for supply, installation of furniture & fixtures for Edusat computer labs.
5.2 The bidder or a person/persons duly authorized by the bidder shall affix the bid with his seal. All pages of the bid, where signature required is not mentioned, shall be initialed by the bidder with his seal, except un-amended, printed literature. 
5.3 The Bidder is expected to carefully examine all instructions, forms, terms and specifications in the Tender Document. Failure to furnish all information required in the Tender Document or submission of a bid not substantially responsive to the Tender Document in every respect will be at the Bidder's risk and may result in the rejection of the bid. 
5.4 This is a two part bid and Bidder, therefore, shall submit separate technical and commercial bids in two different sealed envelopes and further packed in the single sealed envelope mentioning the Tender Number, Due date and the full address of Bidder.  
5.5 Clarification regarding Tender Document: 
A prospective Bidder requiring any clarification of the Tender Document may contact the office of the Society personally. The Society will try to respond to the query there and then. However, submission of request for clarification will not entitle the Bidder for any extension of time in submission of the Tender Document. 
5.6 Amendments in the Tender Document:
5.6.1 At any time up to the last date for receipt of bids, the Punjab Edusat Society may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective Bidder, modify the Tender Document by an amendment. 
5.6.2 The amendment will be notified by general advertisement or through letter or by FAX or Email to the prospective Bidder/Bidders who have received the Tender Documents and the same will be binding on them. 
5.6.3 In order to afford prospective Bidder/Bidders reasonable time, or otherwise for any other reason, in which to take the amendment into account in preparing their bids, the Punjab Edusat Society may, at its sole discretion, extend the last date for the receipt of Bids. The decision to extend or not to extend the last date for the receipt of bids is at sole discretion of Punjab Edusat Society and can’t be challenged at any forum.
Section - VI
6.0 Terms and Conditions of the Tender:
6.1
Payment Terms for Furniture: 

6.1.1
90% of the Contract value shall be paid on delivery of materials in good condition at end school sites on pro rata basis.
6.1.2
10% payment will be released on satisfactory installation and Commissioning of the entire infrastructure in pro rata basis.
6.1 Payment terms for Electrical Cabling with earthing

6.2.1 100 % payment would be released on satisfactory completion on pro rata basis.
6.2.2  All payments will be subjected to tax deduction at source as applicable at the    prevailing tax rates. 

6.3 Performance Bank Guarantee (PBG) 

6.2.1
The successful bidder will have to execute contract agreement and deposit a performance bank guarantee for an amount equivalent to 10 % of the contract value within 15 days of the issuance of LOI/Order. The PBG would be valid for a period 6 months, failing which the LOI/order shall be withdrawn at the discretion of the Society and the EMD of the bidder shall be forfeited.
6.4 Time Schedule:
6.3.1
The supply, installation commissioning and Operationalization of Edusat computer labs shall be completed within 120 days of order/LOI upon successful bidder or sites readiness, whichever is later.
6.4 Penalty Clause for Late Delivery/Installation:
6.4.1 In case supplies are not made within the delivery dates or any extension thereof, LD @ 0.5% (zero point five percent) of the order value or part thereof of the undelivered portion for each calendar week of delay shall be recovered from the bills. However, the total Liquidated Damages shall not exceed 10% (ten percent) of the total value of each order.  
6.4.2 Termination for Default:

6.4.2.1.1 The Punjab Edusat Society may, without prejudice, to any other remedy for breach of contract, by written notice of default sent to the Bidder, terminate the contract in whole or in part of it and forfeit EMD/ PBG if:
(i)
the qualified Bidder fails to deliver any or all of the obligations within the time period (s) specified in the contract, or any extension thereof granted by the Punjab Edusat Society.
(ii)
the qualified Bidder fails to perform any of the obligation(s) under the contract. 
   (iii)
the qualified Bidder becomes bankrupt or otherwise insolvent, provided that such termination will not prejudice or effect any right of action or remedy which has accrued to the Punjab Edusat Society. 
6.5 Force Majeure: 

6.5.1 Notwithstanding the provisions of the tender, the Bidder shall not be liable for forfeiture of its performance security, liquidated damages or termination for default, if and to the extent that, its delay in performance or failure to perform its obligations under the contract is the result of an event of Force Majeure. 
6.5.2 For the purposes of this Clause, ‘Force Majeure' means an event beyond the control of the Bidder like acts of the Government of Punjab/ Punjab Edusat Society either in its sovereign or contractual capacity, war or revolution, fire, any natural calamity, floods, epidemics, quarantine restrictions and freight embargoes. 
6.5.3 If a Force Majeure situation arises, the qualified Bidder shall promptly notify the Punjab Edusat Society in writing of such a condition and the cause thereof. Unless otherwise directed by the Punjab Edusat Society in writing, the Bidder shall continue to perform its obligations under the contract as far as reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event. The Punjab Edusat Society may terminate this contract, by giving a written notice of minimum 15 working days to the Bidder, if as a result of Force Majeure, the Bidder is unable to perform a material portion of the services for a period of more than 30 days. 

6.6 Standard of Performance:
6.6.1 The qualified Bidder shall carry out the services and carry out its obligations under the contract with due diligence, efficiency and economy in accordance with generally accepted norms techniques and practices used in the industry. The Bidder/bidders shall also adhere to professional standards recognized by international professional bodies. The Bidder/bidders shall employ appropriate advance technology and safe and effective equipment, machinery, material and methods. The Bidder/Bidders shall always act in respect of any matter relating to this contract, as faithful advisors to the Society and shall, at all times support and safeguard the Society’s legitimate interests in any dealings with the third party.

6.7 Arbitration: 
6.7.1 All disputes, differences, claims and demands arising under or pursuant to or touching the contract shall be referred to the sole arbitrator i.e. the Principal Secretary/Secretary to Government of Punjab, Department of Secondary Education. This is notwithstanding the fact that the sole arbitrator may be connected in any manner with the official process of finalizing the Contract. The award of the sole arbitrator shall be final and binding on both the parties under the provisions of the Arbitration and Conciliation Act, 1996 or by statutory modification re-enactment thereof for the time being in force. Such arbitration shall be held at Chandigarh. 
6.8 Jurisdiction: 

6.8.1 In all matters and disputes arising hereunder the appropriate Courts at Mohali alone shall have jurisdiction to entertain and try them.
Annexure-I
TECHNICAL SPECIFICATIONS

Specification of Model-1 (With CPU Stand)

Two Seater Computer Workstations for Govt Schools of Punjab State

Overall Size

Width : 1500 mm

Depth :  600 mm

Height:  750 mm (inc levelers)

Wooden top : - Woooden top shall be made of 25mm thick pre laminate particle board (wood based only) with 2 mm PVC machine fitted Edge banding on all sides. Worktop shall be of size 1500 mm x 600 mm made from single board. Two gromets with plastic cover shall be provided. one on Left hand & one on right hand side of work table for proper wire managing. 

Front Partition Panel cum Modesty Panel: - Wooden front partition panel shall  be made of 25mm thick pre laminate particle board with 2mm PVC machine fitted edge banding on all sides. Size of the of the board shall be 1500 mm x 275 mm. Panel shall be fixed in such a way that it is 100 mm above work top and 175 mm below worktop acting as modesty panel covering the wire manager from front side.

Understructure 

Leg:- Leg shall be made of 50.8 x 25.4 x 1.6 mm thick powder coated ERW steel tubes as base which shall be welded to vertical channels made of 1.2 mm thick powder coated MS ’C’ sections as shown in sketch clearly. egs shall have the provision of wire carrying from bottom to the horizontal wire carrier. For adding different accessories like paper tray at any height below workstations slots provision shall also be provided in the legs. Another slot for horizontal wire entry from one workstation to another shall be given just below the worktop. 

Footrest :- Footrest shall be made of MS C section 1.2mm CRCA sheet and joining all legs together from the front. It shall be duly powder coated as per the finish details given below.

CPU Stand: CPU stand shall be made of dia 25.4 x 1.2mm thick pipe & hooks shall be made of 2.5mm CRCA steel. 

Leveler provision: - Level adjustors shall be provided to take care of unevenness in floor. Total 6 levelers shall be provided. Each Leg shall have 2 levelers to accomodate unevenness of the floor 

Wire managers & Electrical mountings : - Wire managers shall be fixed below worksurface at span between Left leg to intermediate leg and intermediate leg to Right leg for ease of carrying wires. These shall be made up of Mild steel ’C’ Section, CRCA Grade “D” 1.0 mm thick & as per IS: 513-1994 & each with a cross sectional size of 50 mm x 150 mm. The wire managers shall be pretreated (as described in “details of pretreatment process under Finish“) & finally powder coated with epoxy powder coating. A front fascia plate of 12 mm thick Pre laminated board shall be snap fitted on wire managers for mounting of switches. 2 sets of (ISI Mark 5 Pin 5A socket & 5A switch) shall be provided on the front facia below work top. One between Left leg & intermediate leg, another between intermediate leg & right Leg.

Finish: All the metal parts shall be given antirust surface treatment & and shall be powder coated with epoxy polyester powder. It shall involves an 8 step treatment consisting of Hot water rinse, Knock of degreasing, degreasing, Cold water rinse, phosphating, cold water rinse, passivation & dry off oven treatment. Final finish shall consists of  poxy polyester powder coating of approved color & shade with a Dry Film Thickness of minimum 40 microns. The testing of paint shall be done for various physical & chemical properties as per IS:101. The material shall then be oven baked with a controlled temperature of 180 deg.C to 200 deg.C.

Product Type: The overall product structure shall be knock down type. Each & every component like worktop, legs, footrest, front partiton panel, wire manager, cpu stand and necessary hardware shall be packed in separate corrugated boxes before supply & shall be assembled at actual site to avoid transporation damages.

Manufacturer Quality & Safety assuration certification:-

Supplier must have ISO-9001, 14001, BIFMA & OHSAS certifications. Product should be tested as per BIFMA performance based test standards.
Specifications for Electrical wiring
Electrical wiring for 3 PC & 30 workstations (2 points of 5 Amp for each) and power socket for 5KVA Stabilizer with 40 Amp MCB at input and 3 qty of 15 Amp MCBs at output properly connected with 3 KVA UPS. For this purpose, the bidder shall have to undertake ISI Marked electrical wiring & ISI/ISO certified components for all electrical equipments. The electrical wiring would also include earthing arrangements. The bidder shall provide internal/covered electrical wiring and power point fittings required for the purpose.
Specifications for Earthing
Wiring and all fittings should be ISI / ISO certified. Earthing should be with copper plate of 600mmX600mmX3mm thick including funnel, charcoal/ coal/ salt of 8 feet depth.

Plastic Chair
PVC/Plastic molded chair without arm rest with atleast 2.4 kg weight. 

[image: image1.jpg]Sketch Of Model -1 (with CPU stand)
Two Seater Computer Workstations for Govt. Schools of Punjab State

Grommet
Cutout
Wooden Top
25 mm thk.

Wooden Parition

Slot for horizental entry of
wires from one table to another

Vertical Channel
with slot

1.2 mm thk.
Powder Coated MS
C-Section .

Vertical Channel
with slot
1.2 mm thk.
Powder Coated MS
C-Section

Foot -
1.2 mm thk.
MS C-Section

a)Wire manager made of 1.0mm
CRCA grade-D C-Section.
b)Fascia plate of 12mm thk PLB.
¢)ISI mark 5pin 5A socket and
5A switch (2sets)

50.8x25.4x1.6
mm thk Powder
Coated ERW
Steel Tube





Specification of Model-2

Two Seater Computer Workstations for Govt Schools of Punjab State

Overall Size

Width : 1500 mm

Depth :  600 mm

Height:  750 mm (inc levelers)

Wooden top : - Woooden top shall be made of 25mm thick pre laminate particle board (wood based only) with 2 mm PVC machine fitted Edge banding on all sides. Worktop shall be of size 1500 mm x 600 mm made from single board. Two gromets with plastic cover shall be provided. one on Left hand & one on right hand side of work table for proper wire managing. 

Front Partition Panel cum Modesty Panel: - Wooden front partition panel shall  be made of 25mm thick pre laminate particle board with 2mm PVC machine fitted edge banding on all sides. Size of the of the board shall be 1500 mm x 275 mm. Panel shall be fixed in such a way that it is 100 mm above work top and 175 mm below worktop acting as modesty panel covering the wire manager from front side.

Understructure 

Leg:- Leg shall be made of 50.8 x 25.4 x 1.6 mm thick powder coated ERW steel tubes as base which shall be welded to vertical channels made of 1.2 mm thick powder coated MS ’C’ sections as shown in sketch clearly. egs shall have the provision of wire carrying from bottom to the horizontal wire carrier. For adding different accessories like paper tray at any height below workstations slots provision shall also be provided in the legs. Another slot for horizontal wire entry from one workstation to another shall be given just below the worktop. 

Footrest :- Footrest shall be made of MS C section 1.2mm CRCA sheet and joining all legs together from the front. It shall be duly powder coated as per the finish details given below.

Leveler provision: - Level adjustors shall be provided to take care of unevenness in floor. Total 6 levelers shall be provided. Each Leg shall have 2 levelers to accomodate unevenness of the floor 

Wire managers & Electrical mountings : - Wire managers shall be fixed below worksurface at span between Left leg to intermediate leg and intermediate leg to Right leg for ease of carrying wires. These shall be made up of Mild steel ’C’ Section, CRCA Grade “D” 1.0 mm thick & as per IS: 513-1994 & each with a cross sectional size of 50 mm x 150mm. The wire managers shall be pretreated (as described in “details of pretreatment process under Finish“) & finally powder coated with epoxy powder coating. A front fascia plate of 12mm thick Pre laminated board shall be snap fitted on wire managers for mounting of switches. 2 sets of (ISI Mark 5 Pin 5A socket & 5A switch) shall be provided on the front facia below work top. One between Left leg & intermediate leg, another between intermediate leg & right Leg.

Finish: All the metal parts shall be given antirust surface treatment & and shall be powder coated with epoxy polyester powder. It shall involves an 8 step treatment consisting of Hot water rinse, Knock of degreasing, degreasing, Cold water rinse, phosphating, cold water rinse, passivation & dry off oven treatment. Final finish shall consists of  poxy polyester powder coating of approved color & shade with a Dry Film Thickness of minimum 40 microns. The testing of paint shall be done for various physical & chemical properties as per IS:101. The material shall then be oven baked with a controlled temperature of 180 deg.C to 200 deg.C.

Product Type: The overall product structure shall be knock down type. Each & every component like worktop, legs, Foortrest, front partiton panel, wire manager & necessary hardware shall be packed in separate corrugated boxes before supply & shall be assembled at actual site to avoid transporation damages.

Manufacturer Quality & Safety assuration certification:-

Supplier must have ISO-9001, 14001, BIFMA & OHSAS certifications. Product should be tested as per BIFMA performance based test standards.

Specifications for Electrical wiring
Electrical wiring for 3 PC & 30 workstations (2 points of 5 Amp for each) and power socket for 5KVA Stabilizer with 40 Amp MCB at input and 3 qty of 15 Amp MCBs at output properly connected with 3 KVA UPS. For this purpose, the bidder shall have to undertake ISI Marked electrical wiring & ISI/ISO certified components for all electrical equipments. The electrical wiring would also include earthing arrangements. The bidder shall provide internal/covered electrical wiring and power point fittings required for the purpose.
Specifications for Earthing
Wiring and all fittings should be ISI / ISO certified. Earthing should be with copper plate of 600mmX600mmX3mm thick including funnel, charcoal/ coal/ salt of 8 feet depth.

Plastic Chair
PVC/Plastic molded chair without arm rest with atleast 2.4 kg weight. 

[image: image2.jpg]Sketch Of Model -2
Two Seater Computer Workstations for Govt. Schools of Punjab State

Powder Coated ERW
el Tube

Slot for horizental entry of
wires from one table to another

Vertical Channel
with slot

1.2 mm thk.
Powder Coated
C-Section

Vertical Channel
with slot
1.2 mm thk.
Powder Coated MS
C-Section

MS C-Section
Wire Management

a)Wire manager made of 1.0mm
CRCA grade-D C-Section.
b)Fascia plate of 12mm thk PLB.
¢)ISI mark 5pin 5A socket and
5A switch (2sets)

50.8x25.4x1.6
mm thk Powder
Coated ERW
Steel Tube





PRE-QUALIFICATION CHECKLIST & ORDER IN WHICH DOCUMENTS ARE SUBMITTED
Name of bidder: ________________________________________________________

	S. No.
	Condition / Item
	Yes/ No/ description
	Page S.No.(s)
	Remarks

	1. 
	Bid Proposal sheet duly filled in, signed and complete in all respects. (Performa -I)
	
	
	

	2. 
	Qualifying data duly filled in as per relevant Performa provided in the bid proposal that the Bidder is eligible to bid and is qualified to perform the contract, if its bid is accepted (Performa -II)
	
	
	

	3. 
	Earnest Money Deposit (EMD) for Rs. 60 Lac (Rs. Sixty lac only) in favour of Director General School Education-cum-Project Director, Punjab Edusat Society (PES). in form of Demand Draft payable at Chandigarh 
	
	
	

	4. 
	Proof of average turnover in last 3 years Rs. 40 crore (Rs. Fourty Crores) of the Principal OEM and Average turnover of Bidder Rs. 10 Crores ( Rs. Ten Crores ). Attach Balance sheets of reference period
	
	
	

	5. 
	The OEM Manufacturer must have equipment manufacturing facility in India with ISO/ ISI for manufacturing of furniture. OEM should attach all the necessary certifications as per specifications asked in the bid.
	
	
	

	6. 
	The Bidder should attach proof of having executed at least 1 large deals for supply of furniture to Govt. in at least 500 institutions.
	
	
	

	7. 
	The Bidder must be Authorized dealer for the last 2 years of the manufacturer goods are being quoted. Attach proof.
	
	
	

	8. 
	The Bidder should have a centralized toll free call centre for after sales support. If toll free number facility is not existing, the bidder will arrange the facility before supply of equipment.
	
	
	

	9. 
	Address, Contact Person, Phone, Mobile phone and Tele Fax/E-mail of Branch Offices in Delhi, Chandigarh and Punjab with residential contact information during holidays.
	
	
	

	10. 
	Details & proof of Service facilities for Technical Support on Services, Maintenance & Availability of components be attached.
	
	
	

	11. 
	The Bidder should have their own offices in Chandigarh and Punjab for last 5 years and support centers in Punjab and Chandigarh (own or through authorized service providers). Attach Proof.
	
	
	

	12. 
	The Bidder should have logistics centers for spares replacement in atleast one in Chandigarh or Punjab. Attach Proof.
	
	
	

	13. 
	The Bidder must have valid PAN issued by Income Tax Authorities, India. Attach Proof.
	
	
	

	14. 
	Prime bidder to have valid state Sales Tax and CST Number, anywhere in India.
	
	
	

	15. 
	The bidder would indicate make & model of the equipment and the components.
	
	
	


BID PROPOSAL PROFORMA’s

Performa -I

Bidder’s Proposal Reference No. & Date
:

Bidder’s Name & Address


:

Person to be contacted


:

Designation




:

Telephone No.



Telex No.:


Fax No:

To:

Punjab Edusat Society (PES)

SCO 104 – 106, Second Floor,

Sector-34 - A, Chandigarh

Subject: 
For Supply, Installation of Furniture, Fixture and Allied material in 3184 Edusat computer labs in Govt. Sr. Secondary Schools and Govt. High schools in the State of Punjab.
Dear Sir,

1.0
We, the undersigned Bidders, having read and examined in detail the specifications and all bidding documents in respect of supply of hardware item do hereby propose to provide hardware as specified in the bidding document.

2.0
PRICE AND VALIDITY

2.1
All the prices mentioned in our proposal are in accordance with the terms as specified in bidding documents. All the prices and other terms and conditions of this proposal are valid for a period of 120 days from the last date of submission of bids.

2.2
We do hereby confirm that our bid prices include all taxes and cess including Income Tax.

2.3
We have studied the Clauses relating to valid Indian Income Tax and hereby declare that if any Income Tax, Surcharge on Income Tax and any other Corporate Tax is altered under the law, we shall pay the same.

3.0
EARNEST MONEY

We have enclosed the required earnest money in the form of Bank Draft in the Pre Qualification bid envelope. It is liable to be forfeited in accordance with the provisions of bid document.

4.0
DEVIATIONS


We declare that all the services shall be performed strictly in accordance with the fine tuned Technical specifications and other bid document except the deviations as mentioned in the Technical deviation Performa (Performa-III) Further we agree that additional conditions, if any, found in the proposal documents, other than those stated in deviations Performa, shall not be given effect to.

5.0
BID PRICING

We further declare that the prices stated in our proposal are in accordance with your terms & conditions in the bidding document.

6.0
QUALIFYING DATA

We confirm having submitted in qualifying data as required by you in your bid document. In case you require any further information/documentary proof in this regard before evaluation of our bid, we agree to furnish the same in time to your satisfaction.

7.0 
CONTRACT PERFORMANCE SECURITY


We hereby declare that in case the contract is awarded to us, we shall submit the performance Guarantee Bond in the form of Bank Guarantee as per terms of bid document.

7.1
We hereby declare that our proposal is made in good faith, without collusion or fraud and the information contained in the proposal is true and correct to the best of our knowledge & belief.

7.2
Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

7.3
We understand that you are not bound to accept the lowest or any bid you may receive.



Thanking you,









Yours faithfully,









(Signature)

Date:






Name:

Place:






 Designation:

Business Address:




 Seal

Performa -II

PARTICULARS OF BIDDER & MANUFACTURER

BIDDER’S PARTICULARS FOR BID NO.

________________________

1.
Name of the Bidder



________________________

2.
Address of the Bidder



________________________




















________________________




















________________________

4.
Year of Establishment



________________________

5.
Annual turnover of the firm for the

________________________


last 3 successive years.

6.
Name of the Dept./Institution where

________________________


the supply of furniture and Electrical 

cabling has been done.


________________________








________________________

7.
Name of the consortium firm (if any)

________________________








________________________








________________________

8.
Address of each consortium firm

_______________________








________________________








________________________

9.
Service facilities available for maintenance
________________________






________________________







________________________

10.
Availability of spare parts, components
________________________








________________________

11.
Bidder’s proposal number & date

________________________

12.
Name & address of the officer

_______________________


to whom all references shall


________________________


be made regarding this bid


________________________


Telex


Telephone


Fax No.

As of the this date the information furnished in all parts of this form is accurate and true to the best of my knowledge.

Witness:

Signature
__________________
Signature_____________________

Name

__________________
Name
       ____________________

Designation
__________________          Designation ___________________

Address
__________________
Address       ___________________

__________________                               ____________________

Company
__________________
Company    ___________________

Date

__________________
Date
        ____________________
Company Seal

(With name & designation

 of the person signing the bid)

Performa-III
TECHNICAL DEVIATIONS

Subject: 
For Supply, Installation of Furniture, Fixture and Allied material in 3184 Edusat computer labs in Govt. Sr. Secondary Schools and Govt. High schools in the State of Punjab.
Dear Sir,

Following are the Technical deviations & variations from the exceptions to the specifications of providing Hardware items in Government Sr. Secondary schools/locations. These deviations and variations are exhaustive. Except these deviations and variations, the entire work shall be provided as per your specifications and documents.

Sr.
Clause
Page



Statement of deviations

No.
No.

No.



and variations

Date








Signature










Name

Place








Seal

Performa-IV
PRICE SCHEDULE (In Rs.)

Unit cost / Total cost of items   

	Sr. No.
	Item Desc.
	Quantity
	Unit cost  

(inclusive of all taxes)
	Total cost  

(inclusive of all taxes)

	1. 
	Two Seater Computer table as per Technical Specifications mentioned at Annexure-I  (With CPU stand)
	3184
Two Seater Tables
	
	

	2.
	Two Seater Computer table as per Technical Specifications mentioned at Annexure-I  (Without CPU stand)
	38208 

Two Seater Tables
	
	

	3
	Electrical wiring for 3 PC & 30 workstations (2 points of 5 Amp for each) and for 5KVA Stabilizer with 40 Amp MCB at input and 3 qty of 15 Amp MCBs at output of 3 KVA UPS as per the Technical Specifications mentioned at Annexure-I
	3184

Labs
	
	

	4

	Earthing arrangement for all the items mentioned at Sr.No.2 as per the Technical Specifications mentioned at Annexure-I
	3184

Labs
	
	

	5
	PVC/Plastic molded chair without arm rest with atleast 2.4 kg weight. 
	79600

Chairs
	
	

	
	
	
	Grand Total
	


Note - The above mentioned quantities are approximate and it can vary. 
The bidder can quote for 1 to 4 itmes or item no. 5 or all items. 
The tender will be decided accordingly.  
Date









Signature









Name

Place









Seal

Performa-V
COMMERCIAL DEVIATIONS

Subject: 
For Supply, Installation of Furniture, electrical Fixture and Allied material in 3184 Edusat computer labs in Govt. Sr. Secondary Schools and Govt. High schools in the State of Punjab.
Dear Sir,



Following are the Commercial deviations & variations from the exceptions to the specifications of providing hardware items in Government Sr. Secondary schools. These deviations and variations are exhaustive. Except these deviations and variations, the entire work shall be provided as per your specifications and documents.

______________________________________________________________________

Sr.
Clause

Page



Statement of deviations

No.
No.


No.



and variations

______________________________________________________________________

______________________________________________________________________

Date









Signature











Name

Place









Seal

Page 1 of 3
Signature of the bidder

