BID NO: 2010 / ICT project /Stolen

Punjab ICT Education Society (PICTES)

Tender for supply of hardware

for

selected schools

Date of Issue of Bid Documents: 29 September, 2010 onwards Date of Pre-Bid Conference: 07 October, 2010 at 15:00 hours Last Date for submission of Bid: 14 October, 2010 at 14:00 hours Date of opening of Tender: 14 October, 2010 at 14:00 hours

**************************************************

Punjab ICT Education Society (PICTES)

SCO 162-164, Sector 34 A, Chandigarh

Ph. No. 0172-5043258, 0172-5043249, Fax 0172-5043244

e-mail: dmictmail@gmail.com

Bid No.		         	: 	BID NO: 2010 / ICT project /Stolen

Serial No. of Document:	: 	________________________________

Issued to			: 	________________________________

_______________________________

Against request No.		:	_______________________________

Dated 				:	_______________________________

and payment of cost of tender document for Rs.  500/- (Five hundred only) to be paid in demand draft (DD) only.

Name of the bank and Address:	_______________________

Demand Draft No. and date:		_______________________

Tender document issued on  : 	___________________________

Authorized Signature

Tender for supply of hardware for selected schools

Section I

Introduction

1.1	Under Phase I of the ICT Project 1573 schools were provided with ICT infrastructure with M/s HCL Infosystems Ltd.  as its Service provider whose term of contract expired on 14 Oct 2009.

Bid conditions

  - Bidders are advised to study the Tender Document carefully. Submission of Tender shall be deemed to have been done after careful study and examination of the Tender Document with full understanding of its implications.

  - The Bidder must furnish Earnest Money Deposit (EMD) for Rs. 25,000/- (Twenty five thousand only) in favour of DGSE, PICTES, Punjab, “payable at Chandigarh”,  in the envelope containing the Pre-Qualification bid. Failing which the bid will be rejected.

  - This Tender document is not transferable.

  - The Department of School Education reserves the rights to reject any bid or all the bids without assigning any reasons and revising quantity, fine-tuning specifications as per requirement of Government of Punjab before opening the commercial bids.

  - The bidder will accept all conditions of the Bid Document unconditionally or depending upon the decisions of the Tender Evaluation Committee

Pre-Qualifications

  - The bidder should have an average turnover of atleast Rs. 50 Lac in last three financial years.

  - The bidder must have minimum two orders of supply of similar hardware of Rs. 5 Lac each in last 3 years.

  - The bidder should have an office in Punjab / Chandigarh.

  - The bidder must possess atleast 5 engineers in Punjab.

Procedure for submission of bids

  - It is proposed to have a Two-Cover System for this bid.

a) 	Pre-qualification and technical Bid in one cover.

c)	Commercial Bid in another cover.

  - The Bidders must place their pre-qualification & technical and commercial bids in two separate envelopes, super-scribed with separate Bid titles.

Section II

Scope of Work

- M/s HCL Infosystems Ltd. was responsible for replacement of hardware, which was stolen from the schools. During the year 2009, thefts cases took place in the following schools and the lost hardware could not be replaced. The bidder will install the hardware in the schools mentioned below:-

Table ‘A’

| Sr. No. | Name of the District | Name of the School | Detail of hardware lost |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Server | Desktop Client | Monitor TFT | Keyboard | Mouse | UPS | Printer |
| 1 | Amritsar | GSSS Basarke Gillan | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
|  |  | GSSS Wadali Guru | 0 | 13 | 2 | 0 | 0 | 0 | 0 |
|  |  | GSSS Ajnala(B) | 0 | 1 | 1 | 1 | 1 | 0 | 0 |
| 2 | Ferozepur | GSSS lakhoke Behram | 1 | 9 | 10 | 0 | 0 | 0 | 0 |
| 3 | Gurdaspur | GSSS Kalerkalan | 1 | 8 | 9 | 9 | 9 | 0 | 0 |
|  |  | GSSS Sidhwan | 1 | 9 | 10 | 0 | 0 | 0 | 0 |
|  |  | GSSS Mirzazan | 0 | 0 | 2 | 2 | 0 | 0 | 0 |
| 4 | Ludhiana | GSSS Machiwara(B) | 0 | 3 | 0 | 3 | 3 | 0 | 0 |
| 5 | Mansa | GSSS Nangal Kalan | 0 | 1 | 1 | 1 | 1 | 0 | 0 |
| 6 | Mohali | GHS Karkour | 0 | 0 | 1 | 0 | 5 | 0 | 0 |
| 7 | Faridkot | GHS Tehna | 0 | 2 | 2 | 2 | 2 | 0 | 0 |
| 8 | Patiala | GHS Mavi Kalan | 0 | 7 | 0 | 0 | 0 | 0 | 0 |
|  |  | GHS Gurditpura | 0 | 2 | 2 | 2 | 3 | 0 | 1 |
| 9 | Taran Taran | GSSS Mehrana | 0 | 0 | 0 | 0 | 0 | 1 (3KVA) | 0 |
| 10 | Jalandhar | GHS Sang Dhedsian | 0 | 3 | 3 | 3 | 3 | 0 | 0 |
|  |  | Total no. of Schools=15 | 4 | 58 | 43 | 23 | 27 | 1 | 1 |

Table ‘B’

| Detail of hardware lost |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sr. No | District Name | Name of CRC School | CPU | Monitor | Keyboard | Mouse | UPS 600 VA | Laser Printer |
| 1 | Amritsar | Central Workshop | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Hardoputli | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Khurmania | 1 | 1 | 1 | 1 | 1 | 1 |
| 2 | Bathinda | MEHRAJ | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | KOT BAKHTU | 1 | 1 | 0 | 0 | 0 | 0 |
|  |  | TALWANDI SABO | 0 | 1 | 0 | 0 | 1 | 0 |
| 3 | Faridkot | Manjit Inderpura | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Kamiana Gate | 0 | 0 | 0 | 0 | 1 | 0 |
| 4 | Ferozepur | Lakhoke Behram | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Bagaeke pipal | 0 | 0 | 0 | 0 | 0 | 1 |
|  |  | Jhumial Wali | 1 | 1 | 1 | 1 | 1 | 1 |
| 5 | FG Sahib | Ghumandgarh | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Salana Jiwansingh Wala | 1 | 0 | 1 | 0 | 0 | 0 |
| 6 | Gurdaspur | Poabar Saida | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Soochania | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Gajnipur | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Paniar | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Jagatpur Khurd | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Navipur | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Babri | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Habitpindi | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Daniawali | 1 | 1 | 1 | 1 | 1 | 1 |
| 7 | Hoshiarpur | Prempur | 1 | 1 | 1 | 1 | 1 | 0 |
| 8 | Ludhiana | Otala | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Gidarwindi | 1 | 1 | 1 | 1 | 1 | 0 |
| 9 | Jalandhar | Bilga (B) | 1 | 1 | 1 | 0 | 0 | 0 |
|  |  | Meethapur | 1 | 1 | 1 | 1 | 1 | 1 |
| 10 | Kapurthala | Nanaknagri | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Dhapai | 0 | 1 | 0 | 0 | 0 | 0 |
| 11 | Muktsar | Jhabelwali | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Rupana | 1 | 1 | 1 | 1 | 1 | 0 |
| 12 | Ropar | Ghanoli | 1 | 1 | 1 | 1 | 1 | 0 |
| 13 | Patiala | Dhamanheri | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Dahrian | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Bapror | 1 | 0 | 0 | 0 | 0 | 0 |
|  |  | Meeranpur | 1 | 1 | 1 | 1 | 0 | 1 |
|  |  | Khansian | 1 | 1 | 1 | 1 | 0 | 0 |
|  |  | Khokh | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Jhandi | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Ajrawar | 1 | 0 | 0 | 0 | 1 | 1 |
| 14 | Taran Taran | Sohal | 1 | 1 | 1 | 1 | 1 | 0 |
|  |  | Khemkaran - I | 0 | 0 | 1 | 1 | 0 | 0 |
|  |  | Assal | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Takhuchak | 1 | 1 | 1 | 1 | 1 | 0 |
|  | Total no. of Schools =44 |  | 39 | 38 | 37 | 35 | 35 | 20 |

- The bidder shall supply, install and maintain the hardware at the school locations as per the following specifications (warranty period 3 years):

Specifications for Table ‘A’:-

| Sr. No. | Item name |  | New Configuration |
| --- | --- | --- | --- |
| 1 | Server | CPU | Intel Pentium Dual Core E5500 |
|  |  | Motherboard | Intel G31 |
|  |  | Hard Disk | 160 GB SATA HDD |
|  |  | Memory | 1 GB DDR-II |
|  |  | Combo Drive | 22x SATA DVD Writer |
|  |  | Sound | Integrated Sound With External Speaker |
|  |  | Ports | 1*Serial, 1*Parallel, 2*PS/2, 1*VGA, 2*USB |
|  |  | Cabinet | Micro ATX Tower Cabinet |
|  |  | SMPS | 200 Watt |
|  |  | LAN | Integrated LAN |
|  |  | Dust Cover | Dust Cover For CPU, Monitor & Keyboard |
| 2 | Desktop Client | CPU | Intel Celeron Dual Core E3300 |
|  |  | Motherboard | Intel G31 |
|  |  | Memory | 1 GB DDR-II |
|  |  | Hard Disk | 160 GB SATA HDD |
|  |  | Ports | 1*Serial, 1*Parallel, 2*PS/2, 1*VGA, 2*USB |
|  |  | Cabinet | Micro ATX Tower Cabinet |
|  |  | CD ROM | 16x DVD ROM |
|  |  | SMPS | 200 Watt |
|  |  | LAN | Integrated LAN |
|  |  | Sound | Integrated Sound With External Speaker |
|  |  | Dust Cover | Dust Cover For CPU, Monitor & Keyboard |
| 3 | Monitor |  | 15.6" Wide TFT TCO Certified |
| 4 | UPS |  | 3 KVA Line Interactive with battery Backup time Minimum 60 minutes (On Full Load) - Microprocessor controlled with synchronous transfer from Mains to inverter and vice versa with Intelligent RS – 232 Commission Interface - Input Voltage Range – 180 to 280 AC, Single phase - Input Frequency – 47 to 53 Hz - Output Voltage – 195 to 255 V AC using Automatic Voltage Regulator (AVR) - Output Power rating – 3000 VA (Capable to handle atleast 9 computers with 15” color monitor per KVA rating of the UPS) - Output waveform - Mains mode: Same as input supply - Battery mode: Sine Wave - Transfer rate – less than 5 milliseconds - Overload protection: UPS must have User Resettable Push Button Circuit breaker in the input and internal current limiting circuit for inverter output. Audio/ Visual indications should also be provided - Surge Suppressors: Inbuilt surge suppressor, EMI/ RFI Filters - LED Indicators: Mains Status, Battery Operation, Battery Bar – Graph, Load Bar – Graph, Overload & Replace battery - Battery Type – Sealed Lead Acid Maintenance Free - Battery make – EXIDE, PANASONIC, Rocket, Okaya - Backup time – Minimum 60 minutes - Battery Cabinet – Batteries should be housed in a Cabinet - Battery quantity – 4 x 12V/ 100 AH UPS software – Compatible with Windows XP/ ME/ 98/ 2000/ Home/ 2003/ Linux for real time monitoring of all vital parameters such as Input Voltage, Output Voltage, Output Load, Battery Voltage and Battery Backup time. Automatic File saving and systematic shutdown of computer in case of prolonged mains failure prior to UPS tripping due to exhausted batteries |
| 5 | Keyboard |  | Heavy Duty Multi Media Membrane Keyboard |
| 6 | Mouse |  | 3 Button Optical Scroll Mouse with PAD |
| 7. | Printer |  | LX300+ 9 Pin 80 Columns Dot Matrix Printer, 337 cps, 8 Kb, Interface: Parallel IEEE & serial |

Specifications for Table ‘B’:-

| Sr. No. | Item name |  | New Configuration |
| --- | --- | --- | --- |
| 1 | CPU | Processor | Intel Core 2 Duo 2.93 GHz |
|  |  | Motherboard | Intel Chipset |
|  |  | Hard Disk | 320GB Hard Disk |
|  |  | Memory | 2GB DDR2RAM |
|  |  | Combo Drive | 22x SATA DVD Writer |
|  |  | Sound | Integrated Sound With External Speaker |
|  |  | Bus Architecture | Intel Graphic Media, 2 PCI, 1 PCI Express x 1, 1 PCI Express x 16 |
|  |  | Cabinet | Micro ATX Tower Cabinet |
|  |  | SMPS | 200 Watt |
|  |  | LAN | Integrated LAN |
|  |  | Dust Cover | Dust Cover For CPU, Monitor & Keyboard |
| 2 | Monitor |  | 17” Flat LCD Monitor |
| 3 | Keyboard |  | Heavy Duty Multi Media Membrane Keyboard |
| 4 | Mouse |  | 3 Button Optical Scroll Mouse with PAD |
| 5 | UPS |  | - 600 VA Interactive UPS - Output - Output Power Capacity 360 Watts / 600 VA - Max Configurable Power 360 Watts / 600 VA - Nominal Output Voltage 120V - Nominal Input Voltage 120V - Input Frequency 60 Hz +/- 3 Hz - Input Connections NEMA 5-15P. - Cord Length 1.83 meters - Input voltage range for main operations 94 - 140V - Battery Type Maintenance-free sealed Lead-Acid battery with suspended electrolyte : leakproof - Typical recharge time 16 hour(s) |
| 6 | Laser Printer |  | - Print speed upto 15ppm - Monthly duty cycle upto 5000 pages - Recommended monthly print volume 250 to 2000 pages - First page out <10 sec. - Processor speed 234 MHz - Print Quality 600X600 dpi - Approved brands Canon, Konika-Minolta, Lexmark |

Section III

Price bid for Table ’A’

| Sr. No. | Item | Qty | Unit Price incl. all taxes | Total price |
| --- | --- | --- | --- | --- |
| 1 | Server | 4 |  |  |
| 2 | Desktop Client | 58 |  |  |
| 3 | Monitor TFT | 43 |  |  |
| 4 | Keyboard | 23 |  |  |
| 5 | Mouse | 27 |  |  |
| 6 | UPS | 1 |  |  |
| 7 | Printer | 1 |  |  |
|  |  |  | Grand total: |  |

In Words_______________

Price bid for Table ’B’

| Sr. No. | Item | Qty | Unit Price incl. all taxes | Total price |
| --- | --- | --- | --- | --- |
| 1 | CPU | 39 |  |  |
| 2 | Monitor | 38 |  |  |
| 3 | Keyboard | 37 |  |  |
| 4 | Mouse | 35 |  |  |
| 5 | UPS | 35 |  |  |
| 6 | Laser Printer | 20 |  |  |
|  |  |  | Grand total: |  |

In Words_______________

Note: Quote FOR price

Payment terms

- 100% on successful delivery and installation at specified schools

Authorized signatory